Adversarial Attack and Robustness Analysis of AI-Based Cataract Surgical Instrument Segmentation

Parikshat Singh, Venu Kulshreshtha, Sayyad Ahsan, and Jolly Parikh

Department of Computer Science and Engineering
Bharati Vidyapeeth’s College of Engineering (affiliated to GGSIPU), New Delhi, India

Abstract—Segmentation networks that label surgical instruments and ocular anatomy in cataract surgery videos are increasingly used as part of computer-assisted surgery systems. Existing results on the Cataract-1K dataset are, however, reported for clean frames only, and the behaviour of these models under adversarial perturbation has not been studied. In this work we train a DeepLabV3+ network with a ResNet-50 encoder on the Cataract-1K segmentation subset and evaluate it on the official held-out patient fold (561 frames), where it obtains a mean intersection-over-union (mIoU) of 79.35%, which is comparable to or better than the published baseline for all three anatomical structures. The model is then attacked with white-box FGSM, PGD and SegPGD perturbations with an L∞ budget of ε∈{1,2,4,8}/255. We also include a random-noise control, a step-count ablation, budgets smaller than one 8-bit intensity level and a test with 8-bit quantised adversarial frames, which gives 41 evaluation runs in total. Changing each pixel by at most one intensity level (PSNR of about 51.2 dB) lowers the mIoU to 4.35% with PGD-20 and to 3.88% with SegPGD-20, a relative drop of about 95%, whereas random noise with eight times this budget reduces it by only 5.2%. Rounding the adversarial frames to 8-bit values does not weaken the attack. Under the iterative attacks the network predicts large spurious regions and labels roughly half of all pixels as pupil. When the two groups of classes are compared within the same frames, the instruments lose a larger fraction of their clean accuracy than the cornea, pupil and lens for every type of attack, by up to 20.7 percentage points, and this holds in each of the six test videos even after hallucinated pixels are discounted. The main observations are also reproduced in an earlier, independent run on 908 frames. Our results show that a high clean accuracy says little about how reliable a cataract segmentation model is.

Index Terms—Adversarial robustness, semantic segmentation, cataract surgery, surgical instrument segmentation, medical image analysis, SegPGD.

# I. Introduction

Cataract surgery is one of the most common surgical procedures performed worldwide, and the video recorded through the operating microscope is now widely used for computer-assisted analysis. Many of these applications, for example instrument tracking, recognition of the surgical phase and assessment of surgical skill, depend on a pixel-level description of the scene in which each pixel is assigned to the cornea, the pupil, the intraocular lens or one of the instruments in use [1], [2]. The release of large annotated datasets such as Cataract-1K [1] has made it possible to train such segmentation models, and recent methods such as RP-SAM2 [3] report steady improvements in clean accuracy.

On the other hand, it is well known that deep networks can be misled by adversarial examples, that is, by inputs to which a small and carefully computed perturbation has been added [4]–[6]. Such a perturbation is usually invisible to a human observer but can change the prediction completely. Semantic segmentation models are affected in the same way [7]–[9], and several studies have reported that models for medical images are at least as sensitive as models trained on natural images [10]–[12]. A further difficulty is that a weak attack can make a model look considerably more robust than it actually is [13], [14].

To the best of our knowledge, the adversarial robustness of cataract surgical segmentation has not been evaluated so far. Work on adversarial attacks against medical segmentation has mostly used radiological volumes and diagnostic images [15]–[17]. The main robustness benchmark for surgical tool segmentation considers only natural corruptions [18], and adversarial studies in surgery have dealt with action recognition, tool detection and robot control on laparoscopic or robotic data [19]–[21]. The models published for Cataract-1K have all been evaluated on unperturbed frames [1], [3].

In this paper we measure this robustness directly, using a controlled protocol with statistical confidence estimates. The main contributions are as follows.

- We evaluate a strong Cataract-1K segmentation baseline under FGSM, PGD and SegPGD at four specified and two sub-8-bit budgets, together with a random-noise control, a step-count ablation and an 8-bit storage check, in 41 runs on the complete held-out fold.

- We compare the vulnerability of the anatomical structures and of the instruments within the same frames, using paired bootstrap confidence intervals, per-video consistency and an additional analysis that separates actual segmentation errors from hallucinated predictions.

- We analyse the type of failure and show that iterative attacks lead the model to predict large and confident but non-existent structures rather than empty masks.

- We repeat the study on an independent 908-frame run in order to identify which of the conclusions are stable.

# II. Related Work

## A. Cataract surgical scene segmentation

The CATARACTS challenge [22] was one of the first efforts on semantic segmentation of cataract surgery. Cataract-1K [1] contains 2,256 annotated frames from 30 videos, with three anatomical and nine instrument classes and a split into five patient-disjoint folds; its authors also benchmarked eleven networks, among them DeepLabV3+. On the same data, RP-SAM2 [3] improves the stability of prompt-based segmentation with SAM2, and Sinha et al. [2] proposed a network for real-time instrument identification in cataract videos. These works focus on accuracy and stability for clean frames, and none of them reports results on perturbed inputs.

## B. Adversarial attacks on semantic segmentation

The fast gradient sign method (FGSM) [5] and projected gradient descent (PGD) [6] are still the standard first-order attacks, while Carlini and Wagner [23] proposed stronger optimisation-based variants. Xie et al. [7] were the first to attack dense prediction models, and Arnab et al. [8] carried out a systematic study of the robustness of segmentation networks. SegPGD [9] modifies the PGD loss by weighting correctly and incorrectly classified pixels differently, which makes the attack more effective for segmentation. Croce et al. [14] showed that commonly used attacks overestimate the robustness of segmentation models. For prompt-based foundation models the situation is less clear, since FGSM and PGD are often reported to be ineffective against SAM [24]. With such a model, a small drop in accuracy could be caused by a weak attack rather than by a robust model.

## C. Adversarial robustness in medical imaging

Finlayson et al. [10] were among the first to point out the risk of adversarial attacks for medical deep learning. Ma et al. [11] reported that medical models are more vulnerable than models for natural images, and Bortsova et al. [12] investigated which factors influence this vulnerability. Malik et al. [15] evaluated volumetric medical segmentation under pixel-domain and frequency-domain attacks, Dietrich and McShannon [16] examined thyroid nodule segmentation in ultrasound, and Dong et al. [17] give a survey of the area. All of these studies deal with diagnostic images rather than with video recorded during surgery.

## D. Robustness in surgical AI

SegSTRONG-C [18] evaluates surgical tool segmentation under smoke, bleeding and low brightness, and Shen et al. [25] tested SAM2 on surgical video with similar non-adversarial corruptions. Adversarial perturbations have been used to analyse surgical action-triplet recognition [19], a defence for tool detection in robot-assisted surgery has been proposed [20], and learned telesurgery policies have been shown to be vulnerable to attacks [21]. As far as we are aware, the adversarial vulnerability of cataract scene segmentation has not been addressed, and the same holds for the question of whether anatomy and instruments in the same frame differ in their vulnerability.

# III. Materials and Methods

## A. Dataset and split

We used the segmentation subset of Cataract-1K [1], which consists of 2,256 frames with a resolution of 1024×768, taken from 30 surgery videos at intervals of five seconds and annotated with Supervisely polygons. The polygons were rasterised into 13 classes, namely background, cornea (referred to as iris in [1]), pupil, intraocular lens (IOL) and nine instrument classes. As in the original benchmark, the slit knife and the incision knife share one class. Instruments were drawn after the anatomy, so that an instrument covering the eye keeps its own label. We followed the official protocol and used fold 1 (6 videos, 561 frames) as the held-out test set. From each of the other four folds one video was taken for validation (283 frames in total), and the remaining 20 videos were used for training (1,412 frames), so that no patient appears in more than one split. All frames were resized to 512×512. Two classes occur only rarely in the test fold, the slit/incision knife (12 frames) and the Katena forceps (8 frames). They are reported separately, and the headline means are computed over the other 10 foreground classes (3 anatomical and 7 instrument classes).

## B. Segmentation model and training

We used DeepLabV3+ [26] with a ResNet-50 encoder [27] pretrained on ImageNet [28], an output stride of 16, an ASPP module with rates 6, 12 and 18 and a low-level decoder, which gives 40.35 M parameters. The ImageNet normalisation is implemented inside the model, so the network takes images in [0,1] RGB space as input, and the perturbation is therefore also defined in this space. We chose DeepLabV3+ for two reasons. It is one of the architectures benchmarked in [1], which allows us to compare our clean results with published numbers, and as a conventional encoder–decoder it does not share the problem of prompt-based models, for which standard attacks may be ineffective [24].

The training loss was the sum of the cross-entropy and 0.8 times the soft Dice loss, following [1]. We used AdamW [29] with a learning rate of 10−4 for the encoder and 5×10−4 for the decoder, a weight decay of 10−4, one epoch of linear warm-up followed by cosine decay, a batch size of 8 and 40 epochs. For augmentation we applied random flips, random affine transformations (scale 0.75–1.25, rotation ±15∘, translation ±10%), colour jitter and, occasionally, Gaussian blur. The checkpoint with the highest validation mIoU (epoch 36, 75.82%) was used in all experiments. Training took about 55 min on an NVIDIA RTX 3060 Laptop GPU.

## C. Threat model

We assume a white-box attacker, who has full access to the architecture, the weights and the gradients, and whose goal is untargeted, which means that any incorrect prediction counts as a success. For a clean frame x∈[0,1]3×H×W with ground-truth mask y, the attacker searches for a perturbation δ with ∥δ∥∞≤ε and x+δ∈[0,1]3×H×W that maximises the segmentation error. We give the budgets in 8-bit units, so that ε=1/255 allows each pixel channel to change by at most one intensity level. The perturbation is added digitally to the decoded frame, before normalisation. Fig. 1 shows the resulting attack and evaluation loop.

Fig. 1. White-box attack and evaluation loop. The perturbation is added in [0,1] RGB space before normalisation and is projected back onto the L∞ ball after each step. FGSM corresponds to a single step of size ε.

## D. Attacks

Let L(x)=i​CE(f(x)i,yi) denote the pixel-wise cross-entropy summed over all pixels i. We use the sum instead of the mean because the sign of the gradient stays the same while numerical underflow is avoided. Π denotes the projection onto the feasible set. FGSM [5] performs a single step,

x′=Πx+ε sign(∇xL(x)).	(1)

PGD-T [6] is initialised at x0=Π(x+u) with u∼U(−ε,ε) and then iterates

xt+1=Πxt+α sign(∇xL(xt)),  α=ε/4.	(2)

SegPGD-T [9] uses the same update but changes the loss over the iterations,

Lt(x)=(1−λt)​​i∈Ct​​CEi+λt​​i∉Ct​​CEi, λt=t−12T,	(3)

where Ct is the set of pixels that are still classified correctly at step t. In the first steps the attack therefore concentrates on pixels that have not been flipped yet. Unless stated otherwise, we use T=20 for both iterative attacks. As a random-noise control we add ε s, where s is drawn uniformly from {−1,+1} for every pixel and channel. This perturbation has the same L∞ budget and the largest possible L2 norm, but it carries no gradient information. All attacks and evaluations were run in 32-bit floating point with the model in evaluation mode. The budget and the pixel range were checked for every batch, and in every attacked run the measured ∥δ∥∞ was exactly ε.

## E. Evaluation protocol

Per-class IoU and Dice were computed from pixel counts accumulated over all test frames. The headline mIoU is the mean over the 10 non-rare classes, and the anatomy and instrument means are taken over the 3 and 7 classes of the respective group. As the attack does not change the ground truth, the clean and the attacked runs are averaged over exactly the same classes. We report the degradation both as ΔmIoU=mIoUclean−mIoUadv and as the relative fall ΔmIoU/mIoUclean. In addition we give the fraction of pixels that were correct on the clean frame but became wrong after the attack (correct→wrong), as well as the PSNR of the adversarial frame. The 95% confidence intervals (CIs) were obtained with a paired bootstrap over frames with 2,000 resamples [30], in which the same resampled frames are used for the clean and for the attacked run. Since frames from the same video are correlated, we also count in how many of the six test videos an effect points in the same direction, and we report a one-sided sign test over frames. To distinguish real segmentation errors from hallucinated pixels, we further compute a present-frames-only variant in which each class is scored only on the frames that contain it. Finally, the relation between object size and vulnerability is measured by the Spearman correlation, across classes, between the mean ground-truth area and the relative fall.

## F. Experiment grid

In total we carried out 41 runs, each on all 561 test frames: the clean model; the specified grid with FGSM, PGD-20 and SegPGD-20 at ε∈{1,2,4,8}/255; the noise control at the same budgets; step-count ablations with T∈{5,10,40} for PGD and SegPGD at ε=4/255 and 1/255; the three attacks at the sub-8-bit budgets ε∈{¼,½}/255; and the three attacks at ε∈{1,2}/255 with the adversarial frame rounded to 8-bit values before inference.

# IV. Results

## A. Clean baseline

The clean results are listed in Table I. On the test fold the model reaches a headline mIoU of 79.35% (95% CI 77.34–81.01) and a mean Dice of 88.27%; the mIoU is 87.84% for the anatomical classes and 75.71% for the instruments. For all three anatomical structures the IoU is equal to or higher than the DeepLabV3+ result reported in [1] (iris 84.55 vs. 79.97, pupil 92.42 vs. 86.24, lens 86.55 vs. 77.23). This comparison should be taken as indicative only, because [1] reports an average over five folds obtained with a different training procedure, whereas we evaluate on the official fold 1. The rare Katena forceps is mostly missed even on clean frames. Overall the baseline is well trained, and the vulnerability described below cannot be explained by a weak model.

TABLE I

Clean results on the held-out test fold (561 frames). IoU and Dice in %; Frames is the number of test frames that contain the class. Ref.: DeepLabV3+ result reported in [1] (mean over five folds). ​*Rare class, not included in the means.

| Class | Group | Frames | IoU | Dice | Ref. [1] |
| --- | --- | --- | --- | --- | --- |
| Cornea | Anat. | 561 | 84.55 | 91.63 | 79.97 |
| Pupil | Anat. | 561 | 92.42 | 96.06 | 86.24 |
| Lens (IOL) | Anat. | 107 | 86.55 | 92.79 | 77.23 |
| Slit/incision knife​* | Instr. | 12 | 79.16 | 88.37 | – |
| Gauge | Instr. | 103 | 70.37 | 82.61 | – |
| Caps. Cystotome | Instr. | 20 | 64.64 | 78.53 | – |
| Caps. Forceps | Instr. | 33 | 74.96 | 85.69 | – |
| Katena Forceps​* | Instr. | 8 | 4.08 | 7.85 | – |
| Spatula | Instr. | 212 | 74.36 | 85.30 | – |
| Phaco. Tip | Instr. | 148 | 82.93 | 90.67 | – |
| Irrigation-aspiration | Instr. | 120 | 84.12 | 91.37 | – |
| Lens Injector | Instr. | 14 | 78.61 | 88.03 | – |
| Instruments merged | – | 462 | 79.34 | 88.48 | 53.53 |
| Headline mean | 10 cl. | 561 | 79.35 | 88.27 | – |
| Anatomy mean | 3 cl. | 561 | 87.84 | 93.49 | – |
| Instrument mean | 7 cl. | 561 | 75.71 | 86.03 | – |

## B. Vulnerability to adversarial perturbation

Table II and Fig. 2 give the results of the main grid. The three types of perturbation behave very differently. Random noise has almost no effect and reduces the mIoU by 0.2% at ε=1/255 and by 5.2% at 8/255. FGSM removes between 29.1 and 30.6% at every budget, and its effect does not grow with ε. This is what one would expect from a single linear step, which stops being effective once the loss surface is no longer approximately linear. The iterative attacks, in contrast, make the model fail almost completely. At ε=1/255, PGD-20 and SegPGD-20 lower the mIoU to 4.35% and 3.88%, and at 8/255 to 0.39% and 0.34%, which corresponds to a relative fall of 94.5–99.6% over the specified budgets.

The comparison between noise and FGSM at ε=1/255 is worth a closer look. In both cases every pixel channel is changed by exactly ±1/255 (PSNR 48.2 dB), but the noise costs only 0.2% of the mIoU while FGSM costs 29.1%. The model is therefore sensitive to the direction of the perturbation and not to small perturbations in general. The PGD perturbations are even harder to see (51.2 dB at 1/255, since not all pixels reach ±ε), and yet they do roughly three times as much damage as FGSM. Because the iterative attacks were already saturated at the smallest specified budget, we added two smaller budgets. Even at ε=¼/255, PGD-20 still removes 73.2% of the mIoU (Fig. 2).

TABLE II

Results on the held-out test fold (561 frames) without and with attack. PGD and SegPGD use T=20, α=ε/4 and a random start. The CIs were obtained with a paired bootstrap over frames (2,000 resamples). Corr.→wrong: fraction of pixels that were correct on the clean frame and are wrong after the attack.

| Attack | ε | mIoU [95% CI] | ΔmIoU | Rel. fall | mDice | Anat. | Instr. | Corr.→wrong | PSNR |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | (×1/255) | (%) | (pp) | (%) | (%) | mIoU (%) | mIoU (%) | (%) | (dB) |
| Clean | – | 79.35 [77.34, 81.01] | – | – | 88.27 | 87.84 | 75.71 | – | – |
| Random noise | 1 | 79.17 [77.19, 80.84] | 0.18 | 0.2 | 88.16 | 87.78 | 75.48 | 0.1 | 48.2 |
| Random noise | 2 | 78.93 [76.92, 80.61] | 0.43 | 0.5 | 87.99 | 87.53 | 75.24 | 0.2 | 42.2 |
| Random noise | 4 | 78.15 [76.17, 79.72] | 1.20 | 1.5 | 87.50 | 86.98 | 74.36 | 0.4 | 36.2 |
| Random noise | 8 | 75.20 [73.21, 76.82] | 4.15 | 5.2 | 85.58 | 85.38 | 70.84 | 0.7 | 30.2 |
| FGSM | 1 | 56.28 [54.00, 58.29] | 23.07 | 29.1 | 71.45 | 69.24 | 50.73 | 2.7 | 48.2 |
| FGSM | 2 | 55.49 [53.24, 57.50] | 23.86 | 30.1 | 70.77 | 69.09 | 49.66 | 2.7 | 42.2 |
| FGSM | 4 | 55.81 [53.54, 57.87] | 23.54 | 29.7 | 71.03 | 69.92 | 49.76 | 2.6 | 36.2 |
| FGSM | 8 | 55.06 [52.89, 57.07] | 24.29 | 30.6 | 70.27 | 70.73 | 48.35 | 2.6 | 30.2 |
| PGD-20 | 1 | 4.35 [3.71, 4.98] | 75.00 | 94.5 | 8.04 | 9.73 | 2.04 | 62.5 | 51.2 |
| PGD-20 | 2 | 1.57 [1.25, 1.92] | 77.78 | 98.0 | 3.04 | 3.62 | 0.69 | 70.5 | 45.6 |
| PGD-20 | 4 | 0.84 [0.60, 1.11] | 78.51 | 98.9 | 1.66 | 1.84 | 0.41 | 69.1 | 39.8 |
| PGD-20 | 8 | 0.39 [0.24, 0.62] | 78.96 | 99.5 | 0.77 | 0.83 | 0.20 | 65.5 | 33.8 |
| SegPGD-20 | 1 | 3.88 [3.39, 4.42] | 75.47 | 95.1 | 7.28 | 7.71 | 2.24 | 68.2 | 51.2 |
| SegPGD-20 | 2 | 1.38 [1.10, 1.68] | 77.97 | 98.3 | 2.70 | 2.75 | 0.79 | 76.5 | 45.6 |
| SegPGD-20 | 4 | 0.68 [0.49, 0.93] | 78.67 | 99.1 | 1.34 | 1.41 | 0.36 | 75.7 | 39.7 |
| SegPGD-20 | 8 | 0.34 [0.23, 0.52] | 79.01 | 99.6 | 0.68 | 0.71 | 0.18 | 74.0 | 33.8 |

Fig. 2. Headline mIoU as a function of the L∞ budget, with the 95% bootstrap CIs shaded. The grey band marks the additional budgets below one 8-bit intensity step.

## C. Effect of the number of iterations

The effect of the number of iterations is shown in Table III and Fig. 3. The number of steps turns out to matter more than the budget: with five PGD steps at ε=1/255 the mIoU already drops to 22.01% (−72% relative), which is more than FGSM achieves with eight times the budget. The damage keeps increasing up to 40 steps (2.24% at 1/255), so the results for 20 steps are conservative and should be read as an upper bound on the robustness of the model [14]. PGD and SegPGD give statistically indistinguishable mIoU values for every number of steps. SegPGD does, however, flip a larger share of the clean-correct pixels (68–77% compared with 63–71% at T=20; Table II), which is the behaviour its reweighted loss was designed for. For this model plain PGD is already strong enough to bring the mIoU close to zero, so the advantage of the segmentation-specific loss becomes visible in the pixel-flip rate rather than in the mIoU.

TABLE III

Headline mIoU (%) for different numbers of attack iterations T. ​‡FGSM, i.e. one step of size ε.

| ε | Attack | T=1 | 5 | 10 | 20 | 40 |
| --- | --- | --- | --- | --- | --- | --- |
| 1/255 | PGD | 56.28​‡ | 22.01 | 9.38 | 4.35 | 2.24 |
| 1/255 | SegPGD | – | 20.97 | 9.61 | 3.88 | 2.57 |
| 4/255 | PGD | 55.81​‡ | 9.71 | 2.73 | 0.84 | 0.34 |
| 4/255 | SegPGD | – | 8.99 | 2.48 | 0.68 | 0.33 |

Fig. 3. Step-count ablation at ε=1/255 and 4/255. The horizontal line shows the clean mIoU.

## D. Anatomy versus instruments

In Table IV and Fig. 4 we compare the relative fall of the anatomy and instrument group means. As long as an attack is not saturated, the instruments lose a larger part of their clean accuracy than the anatomical structures. The difference is +3.6 pp for noise at 8/255, between +8.2 and +16.7 pp for FGSM, and +20.7 pp (PGD-20) and +16.1 pp (SegPGD-20) at ε=¼/255. In the last case the anatomy mIoU falls by 59.4% and the instrument mIoU by 80.1% under PGD-20. For all of these settings the bootstrap CI does not include zero, and the same direction is observed in all six test videos. The difference is also not caused by hallucinated instrument pixels. When each class is scored only on frames in which it is present, the gap at ¼/255 becomes smaller but remains clearly positive, at +14.6 pp for PGD-20 and +12.5 pp for SegPGD-20. Once the attacks saturate (ε≥4/255), both groups are close to zero and the difference disappears. It should also be noted that under strong attacks the anatomy loses more IoU in absolute terms, simply because its clean IoU is higher. Our question concerns how quickly each group degrades, and for this reason we use the relative fall as the main measure.

TABLE IV

Relative fall (%) of the anatomy and instrument group mIoU. Δ is the instrument value minus the anatomy value (pp) with a paired bootstrap 95% CI; Δpres is the same difference when each class is scored only on frames in which it is present; Vid. is the number of test videos (out of 6) in which the instruments fall further. ε in units of 1/255.

| Attack | ε | Anat. | Instr. | Δ [95% CI] | Δpres | Vid. |
| --- | --- | --- | --- | --- | --- | --- |
| Noise | 8 | 2.8 | 6.4 | +3.6 [+2.2, +5.1] | +3.9 | 6/6 |
| FGSM | ¼ | 15.3 | 23.6 | +8.2 [+5.2, +11.2] | +7.1 | 6/6 |
| FGSM | 1 | 21.2 | 33.0 | +11.8 [+8.5, +15.1] | +10.2 | 6/6 |
| FGSM | 8 | 19.5 | 36.1 | +16.7 [+13.4, +20.0] | +15.3 | 6/6 |
| PGD-20 | ¼ | 59.4 | 80.1 | +20.7 [+16.8, +24.2] | +14.6 | 6/6 |
| PGD-20 | 1 | 88.9 | 97.3 | +8.4 [+6.4, +10.3] | +7.8 | 6/6 |
| PGD-20 | 8 | 99.1 | 99.7 | +0.7 [+0.2, +1.5] | +0.3 | 4/6 |
| SegPGD-20 | ¼ | 62.3 | 78.4 | +16.1 [+12.5, +19.6] | +12.5 | 6/6 |
| SegPGD-20 | 1 | 91.2 | 97.0 | +5.8 [+4.2, +7.4] | +6.0 | 6/6 |
| SegPGD-20 | 8 | 99.2 | 99.8 | +0.6 [+0.2, +1.2] | +0.4 | 5/6 |

Fig. 4. Fraction of the clean group mIoU that is retained under each attack (anatomy: blue circles; instruments: orange squares). The grey band marks the sub-8-bit budgets.

Fig. 5. Relative IoU fall per class in three regimes in which the attacks are not saturated (headline classes only). The anatomical classes (blue) are among the least affected in all three cases; among the instruments, the capsulorhexis forceps is an exception.

Fig. 5 shows the same comparison for the individual classes. In each of the three regimes the anatomical classes are among the least affected. Under FGSM at 1/255 the anatomy group falls by 21.2% and the instrument group by 33.0%; the lens injector is the most fragile class (−45%), followed by the capsulorhexis cystotome and the irrigation–aspiration handpiece (−34% each). The capsulorhexis forceps, although it is thin and metallic, behaves more like the anatomy. Across classes, the mean object area and the relative fall are negatively correlated in every unsaturated run (Spearman ρ between -0.56 and -0.14), so smaller structures tend to fall further. With only ten classes, however, none of these correlations is significant (the smallest p-value is 0.09). We therefore regard the higher vulnerability of the instruments as a reliable group-level effect, while object size is a plausible explanation that our data cannot confirm. The absolute per-class IoU values behind Fig. 5 are given in Table V.

TABLE V

Per-class IoU (%) on the held-out test fold without attack and under attack (ε in units of 1/255; PGD and SegPGD with T=20). ​*Rare class.

| Class | Clean | Noise 8 | FGSM 1 | PGD ¼ | SegPGD ¼ | SegPGD 1 |
| --- | --- | --- | --- | --- | --- | --- |
| Cornea | 84.5 | 81.1 | 62.1 | 36.2 | 32.4 | 7.4 |
| Pupil | 92.4 | 90.4 | 80.4 | 31.2 | 28.4 | 4.7 |
| Lens (IOL) | 86.6 | 84.7 | 65.2 | 39.7 | 38.5 | 11.0 |
| Slit/inc. knife​* | 79.2 | 80.5 | 61.8 | 13.6 | 15.0 | 6.4 |
| Gauge | 70.4 | 65.7 | 49.0 | 19.1 | 19.3 | 1.5 |
| Caps. cystotome | 64.6 | 61.3 | 42.6 | 19.7 | 17.9 | 1.2 |
| Caps. forceps | 75.0 | 75.3 | 54.2 | 23.2 | 26.9 | 1.0 |
| Katena Forceps​* | 4.1 | 4.0 | 4.0 | 4.1 | 4.2 | 3.3 |
| Spatula | 74.4 | 67.5 | 51.5 | 17.5 | 22.1 | 5.4 |
| Phaco tip | 82.9 | 77.2 | 58.8 | 14.4 | 16.9 | 4.8 |
| Irrigation-asp. | 84.1 | 75.8 | 55.7 | 10.7 | 10.7 | 1.7 |
| Lens Injector | 78.6 | 73.1 | 43.2 | 0.8 | 0.5 | 0.2 |

## E. Failure modes: hallucination and mislocalisation

Table VI lists the fraction of pixels assigned to each class. FGSM hardly changes these fractions, even though it removes about 30% of the mIoU, which means that it mainly shifts and confuses the predicted structures. The iterative attacks behave differently and make the model hallucinate. Under SegPGD-20 at 4/255, 49.5% of all pixels are labelled as pupil although the true fraction is 6.7%, 6.0% are labelled as lens injector (true fraction 0.1%), and the background fraction drops from 84.8% to 33.6%. Examples are shown in Fig. 6. The adversarial frames cannot be told apart from the clean frames, but the predicted scenes have little in common with the actual surgery. For downstream applications such as tool tracking or phase recognition, false structures predicted with high confidence are arguably more harmful than an empty mask.

TABLE VI

Fraction of test pixels (%) assigned to each class at ε=4/255. Values more than three times the ground-truth fraction are printed in bold.

| Class | GT | Clean | FGSM | PGD-20 | SegPGD-20 |
| --- | --- | --- | --- | --- | --- |
| Background | 84.8 | 84.9 | 85.1 | 40.3 | 33.6 |
| Cornea | 5.5 | 5.5 | 5.5 | 5.6 | 6.3 |
| Pupil | 6.7 | 6.6 | 6.8 | 43.7 | 49.5 |
| Lens (IOL) | 0.9 | 0.9 | 0.8 | 0.4 | 0.4 |
| Gauge | 0.1 | 0.1 | 0.1 | 1.1 | 0.6 |
| Spatula | 0.4 | 0.4 | 0.3 | 0.9 | 1.1 |
| Phaco tip | 0.6 | 0.6 | 0.5 | 0.7 | 1.1 |
| Lens Injector | 0.1 | 0.1 | 0.1 | 5.4 | 6.0 |

Fig. 6. SegPGD-20 at ε=4/255 on three test frames. For visibility, the perturbation is rescaled from ±ε to the full intensity range. Although the adversarial frames look the same as the clean frames, the predictions consist largely of hallucinated regions. In row 3 the Katena forceps (green, top left of the ground truth) is missed already by the clean model.

## F. Additional checks

In Table VII(a) the adversarial frames are rounded to 8-bit values before inference, as would happen if they were stored as images. The mIoU changes by at most 0.26 pp, so the results do not depend on floating-point precision. Table VII(b) compares the full-data results with an earlier run of the same pipeline on an independent subset of 908 frames (524 for training and 259 for testing). All of the main vulnerability results are reproduced. In both runs the iterative attacks remove about 95% of the mIoU at 1/255, FGSM removes about one third, and the model hallucinates under attack. Two secondary results changed. The anatomy–instrument gap under iterative attacks was inconclusive on 908 frames (four of six videos) but is clear on the full data (six of six). In addition, the smaller model was roughly twice as sensitive to random noise (10.3% vs. 5.2% at 8/255), while its vulnerability to PGD was the same (95.0% vs. 94.5%).

TABLE VII

Additional checks: (a) 8-bit quantisation of the adversarial frame; (b) repetition of the study on an independent run with 908 frames.

| (a) 8-bit quantisation of the adversarial frame |  |  |
| --- | --- | --- |
| mIoU (%) | Float | 8-bit |
| PGD-20, ε = 1/255 | 4.35 | 4.09 |
| PGD-20, ε = 2/255 | 1.57 | 1.65 |
| SegPGD-20, ε = 1/255 | 3.88 | 3.75 |
| SegPGD-20, ε = 2/255 | 1.38 | 1.53 |
| FGSM, ε = 1/255 | 56.28 | 56.28 |
| FGSM, ε = 2/255 | 55.49 | 55.48 |
| (b) Replication on an independent run |  |  |
| Quantity | 908 frames | Full data |
| Clean mIoU (%) | 77.08 | 79.35 |
| Noise 8/255: rel. fall (%) | 10.3 | 5.2 |
| FGSM 1/255: rel. fall (%) | 34.0 | 29.1 |
| PGD-20 1/255: rel. fall (%) | 95.0 | 94.5 |
| SegPGD-20 1/255: rel. fall (%) | 95.1 | 95.1 |
| FGSM 1/255: gap, pp (videos) | +9.7 (6/6) | +11.8 (6/6) |
| PGD-20 ¼/255: gap, pp (videos) | +8.7 (4/6) | +20.7 (6/6) |
| SegPGD-20 4/255: pupil share (%) | 41.2 | 49.5 |

# V. Discussion

## A. Clean accuracy and reliability

A model that matches or exceeds the published benchmark on clean frames loses 95% of its segmentation quality under a perturbation of a single intensity level, and still 73% under a quarter of one level. Perturbations of this size are far below what a human observer can perceive, so inspecting the frames would not reveal them. This agrees with earlier reports on the vulnerability of medical models [10], [11] and suggests that the problem carries over from diagnostic images to intra-operative video.

## B. Why the instruments are more fragile

Instruments are thin and specular and cover only a small number of pixels, so flipping a few pixels already removes a large part of their area. The anatomical structures, in comparison, are large, nested (the pupil lies inside the cornea) and strongly constrained by their context. The negative correlation between object size and vulnerability that we observed consistently is in line with this explanation. The capsulorhexis forceps, however, is thin and still robust, which suggests that size alone does not determine vulnerability and that appearance and contextual cues also play a role.

## C. Hallucinated predictions

Under the iterative attacks the model replaces the scene with large and confident structures that are anatomically implausible. For downstream analysis this is more problematic than a missing prediction. At the same time it may offer a way to detect attacks, because the hallucinated layouts violate basic anatomical constraints. This would be consistent with the observation of Ma et al. [11] that adversarial examples for medical images can be easier to detect.

## D. Training data and robustness

The full-data model, which was trained on 2.7 times more frames, was about half as sensitive to random noise as the 908-frame model, but equally vulnerable to the iterative attacks. The two runs also differ in the training schedule and in the size of the test set. Still, the comparison suggests that more clean data alone will not provide robustness against worst-case perturbations, and that explicit defences such as adversarial training, for which SegPGD was also proposed [9], will be required.

## E. Threat scenarios

The white-box setting represents a worst case, but two of our results bring it closer to practice. First, the perturbations survive rounding to 8-bit pixel values, so they could be contained in stored or streamed frames and do not have to be injected directly into the input of the model. Second, only a few gradient steps are needed (five PGD steps at 1/255 already remove 72% of the mIoU). Every component that can modify the video between the microscope camera and the segmentation model, for example recording software, a network relay or an analysis server, would therefore have to be regarded as part of the attack surface. Whether such perturbations transfer to other models, and whether they survive lossy video compression, are open questions that could be studied with the protocol used here.

## F. Implications for evaluation

Since single-step attacks reach only about one third of the damage and 20-step attacks still improve at 40 steps, claims about the robustness of surgical segmentation models should be based on strong iterative attacks, and the number of steps should be reported, as has been argued for natural images [13], [14]. Reporting the pixel-flip rate in addition to the mIoU is also helpful, because it reveals differences between attacks that the mIoU no longer reflects once it is saturated. We would suggest that benchmarks for surgical segmentation such as Cataract-1K report, in addition to the clean accuracy, at least the mIoU under random noise and under PGD at ε=1/255. Both are cheap to compute and, as our results show, can lead to very different conclusions than the clean accuracy alone. Since transformer-based segmentation models were found to be more robust than convolutional ones on volumetric data [15], a comparison of architectures under the same protocol would be a useful next step.

# VI. Limitations

Our study has several limitations. We evaluated a single architecture, a single training seed and only the official test fold, so the variance across folds is not known; the independent run on 908 frames compensates for this only in part. Frames from the same video are correlated, which is why we consider the per-video counts the more conservative evidence. Two instrument classes are too rare in the test fold to draw conclusions for them individually. The threat model is a digital white-box worst case in which the attacker also has access to the ground-truth labels. Black-box, transfer, physical and temporal attacks were not evaluated, and perturbations below one 8-bit step are only possible if the decoded frames themselves are manipulated. The comparison with the published benchmark is not like-for-like. Finally, all measurements were made on recorded video in a laboratory setting and do not by themselves allow conclusions about patient safety.

# VII. Conclusion

We have studied the adversarial robustness of cataract surgical scene segmentation on the Cataract-1K benchmark. A DeepLabV3+ baseline with good clean accuracy drops from 79.35% to about 4% mIoU when each pixel is perturbed by one intensity level, the attack still works after the frames are stored with 8-bit precision, and the attacked model produces hallucinated structures instead of failing silently. Surgical instruments were consistently more vulnerable than the surrounding anatomy, and a larger amount of clean training data did not improve the adversarial robustness. In future work we plan to evaluate defences such as adversarial training and the detection of implausible predictions, black-box and transfer attacks, attacks that exploit the temporal structure of video, and further architectures, including foundation models attacked with region-aware methods.

# Acknowledgment

We thank the authors of the Cataract-1K dataset and Klinikum Klagenfurt for making the data publicly available.

# References

[1] N. Ghamsarian, Y. El-Shabrawi, S. Nasirihaghighi, D. Putzgruber-Adamitsch, M. Zinkernagel, S. Wolf, K. Schoeffmann, and R. Sznitman, “Cataract-1K dataset for deep-learning-assisted analysis of cataract surgery videos,” Scientific Data, vol. 11, p. 373, 2024.

[2] S. Sinha, M. Balazia, and F. Bremond, “Identifying surgical instruments in pedagogical cataract surgery videos through an optimized aggregation network,” in Proc. IEEE Int. Conf. Image Processing Applications and Systems (IPAS), 2025, arXiv:2501.02618.

[3] N. Zhaksylyk, I. Almakky, J. Paranjape, S. S. Vedula, S. Sikder, V. M. Patel, and M. Yaqub, “RP-SAM2: Refining point prompts for stable surgical instrument segmentation,” arXiv:2504.07117, 2025.

[4] C. Szegedy, W. Zaremba, I. Sutskever, J. Bruna, D. Erhan, I. Goodfellow, and R. Fergus, “Intriguing properties of neural networks,” in Proc. Int. Conf. Learning Representations (ICLR), 2014.

[5] I. J. Goodfellow, J. Shlens, and C. Szegedy, “Explaining and harnessing adversarial examples,” in Proc. Int. Conf. Learning Representations (ICLR), 2015.

[6] A. Madry, A. Makelov, L. Schmidt, D. Tsipras, and A. Vladu, “Towards deep learning models resistant to adversarial attacks,” in Proc. Int. Conf. Learning Representations (ICLR), 2018.

[7] C. Xie, J. Wang, Z. Zhang, Y. Zhou, L. Xie, and A. Yuille, “Adversarial examples for semantic segmentation and object detection,” in Proc. IEEE Int. Conf. Computer Vision (ICCV), 2017.

[8] A. Arnab, O. Miksik, and P. H. S. Torr, “On the robustness of semantic segmentation models to adversarial attacks,” in Proc. IEEE/CVF Conf. Computer Vision and Pattern Recognition (CVPR), 2018.

[9] J. Gu, H. Zhao, V. Tresp, and P. Torr, “SegPGD: An effective and efficient adversarial attack for evaluating and boosting segmentation robustness,” in Proc. European Conf. Computer Vision (ECCV), 2022.

[10] S. G. Finlayson, H. W. Chung, I. S. Kohane, and A. L. Beam, “Adversarial attacks against medical deep learning systems,” arXiv:1804.05296, 2018.

[11] X. Ma, Y. Niu, L. Gu, Y. Wang, Y. Zhao, J. Bailey, and F. Lu, “Understanding adversarial attacks on deep learning based medical image analysis systems,” Pattern Recognition, vol. 110, p. 107332, 2021.

[12] G. Bortsova et al., “Adversarial attack vulnerability of medical image analysis systems: Unexplored factors,” Medical Image Analysis, vol. 73, p. 102141, 2021.

[13] A. Athalye, N. Carlini, and D. Wagner, “Obfuscated gradients give a false sense of security: Circumventing defenses to adversarial examples,” in Proc. Int. Conf. Machine Learning (ICML), 2018.

[14] F. Croce, N. D. Singh, and M. Hein, “Towards reliable evaluation and fast training of robust semantic segmentation models,” arXiv:2306.12941, 2023.

[15] H. S. Malik, N. Saeed, A. Hanif, M. Naseer, M. Yaqub, S. Khan, and F. S. Khan, “On evaluating adversarial robustness of volumetric medical segmentation models,” in Proc. British Machine Vision Conf. (BMVC), 2024, arXiv:2406.08486.

[16] N. Dietrich and D. McShannon, “Adversarial robustness of deep learning-based thyroid nodule segmentation in ultrasound,” arXiv:2602.21452, 2026.

[17] J. Dong, J. Chen, X. Xie, J. Lai, and H. Chen, “Survey on adversarial attack and defense for medical image analysis: Methods and challenges,” arXiv:2303.14133, 2023.

[18] H. Ding, Y. Zhang, T. Lu, R. Liang, H. Shu, L. Seenivasan et al., “SegSTRONG-C: Segmenting surgical tools robustly on non-adversarial generated corruptions – an EndoVis’24 challenge,” arXiv:2407.11906, 2024.

[19] Y. Cheng, L. Liu, S. Wang, Y. Jin, C.-B. Schönlieb, and A. I. Aviles-Rivero, “Why deep surgical models fail?: Revisiting surgical action triplet recognition through the lens of robustness,” arXiv:2209.08647, 2022.

[20] Khan, Nawaz, Sheikh, Hanif, and Yaqub, “GUARDIAN: Guarding against uncertainty and adversarial risks in robot-assisted surgeries,” in Proc. MICCAI Workshops. Springer, 2024.

[21] S. Jin, Z. Chen, P. Satish, P. Gupta, F. T. Pokorny, and K. Goldberg, “Adversarial vulnerabilities of learned telesurgery policies,” arXiv:2606.11535, 2026.

[22] I. Luengo, M. Grammatikopoulou, R. Mohammadi, C. Walsh, C. I. Nwoye, D. Alapatt, N. Padoy et al., “2020 CATARACTS semantic segmentation challenge,” arXiv:2110.10965, 2021.

[23] N. Carlini and D. Wagner, “Towards evaluating the robustness of neural networks,” in Proc. IEEE Symp. Security and Privacy (SP), 2017, pp. 39–57.

[24] X. Liu, F. Shen, and J. Zhao, “Region-guided attack on the Segment Anything Model (SAM),” arXiv:2411.02974, 2024.

[25] Y. Shen, H. Ding, X. Shao, and M. Unberath, “Performance and non-adversarial robustness of the Segment Anything Model 2 in surgical video segmentation,” arXiv:2408.04098, 2024.

[26] L.-C. Chen, Y. Zhu, G. Papandreou, F. Schroff, and H. Adam, “Encoder-decoder with atrous separable convolution for semantic image segmentation,” in Proc. European Conf. Computer Vision (ECCV), 2018.

[27] K. He, X. Zhang, S. Ren, and J. Sun, “Deep residual learning for image recognition,” in Proc. IEEE Conf. Computer Vision and Pattern Recognition (CVPR), 2016, pp. 770–778.

[28] J. Deng, W. Dong, R. Socher, L.-J. Li, K. Li, and L. Fei-Fei, “ImageNet: A large-scale hierarchical image database,” in Proc. IEEE Conf. Computer Vision and Pattern Recognition (CVPR), 2009, pp. 248–255.

[29] I. Loshchilov and F. Hutter, “Decoupled weight decay regularization,” in Proc. Int. Conf. Learning Representations (ICLR), 2019.

[30] B. Efron and R. J. Tibshirani, An Introduction to the Bootstrap. Chapman & Hall, 1993.